Site Development & Earthworks

Include area code and item description

Clear and grub	ha

Mass excavation and backfill	m3

Structural excavation and backfill	m3

Rehabilitation	lot

Fencing	m

Landscaping	m2

Piles (steel tube, bored, H-pile)	m

Sheet piles	m2

Cast in place piles	m3

Geofabrics/Liners	m2

Retaining/RE Walls	m2

Slope Protection	m2

Engineering shall quantify over excavation for batters and clearances, etc

Site Drainage

Include area code and item description

Trench excavation	m3

Trench backfill	m3

Culverts	m

Pipes	m

V drain	m

Engineering shall quantify over excavation for batters and clearances, etc

Concrete

Include area code and item description (eg slab, wall, elevated slab, equipment footing, sand fill, etc)

Select backfill	m3

Concrete	m3

Blinding	m3

Formwork 	m2

Rebar 	t

HD bolts/embeds	kg

Grout	m3

Concrete finishes	m2

Structural Steel

Include area code and item description (eg structure, bracing, support)

Light, medium, heavy & x-heavy steel	t

Purlins and girts	t

Platework	t

Platforms, walkways	t

Pipe Racks & Supports	t

Painting	m2

Handrails	m

Grating, floor plate and stair treads	m2

Grouting quantities	m3

Liners	m2

Engineering shall include bracing and an allowance for brackets, cleats, stiffeners, etc.

Piping

Include area code, description, drawing number, line number, specification, size, type, and schedule

Pipe (spooled/field run/rack)	m

Pipe hangers and supports	ea

Fittings	ea

Flanges – by type	ea

Valves	ea

Steam tracing	m

Insulation (type)	m

Speciality piping	ea

Building

Include description of building (eg administration building) and main materials of construction

Floor area, roofing and siding	m2

Excavation and trenching	m3

Internal finishes	m2

Wall and roof cladding	m2

Services	ea

Furnishings	ea

Instrumentation

Instruments	ea

Control valves	ea

Instrument cable	m

Cable trays & conduit	m

Terminations	ea

Electrical

Equipment	ea

Power and control cable	m

Terminations	ea

Cable trays	m

Earthing grids	lot

Corrosion protection	lot

Cathodic protection	lot

Lightning protection	lot

| Description |  |  | Code |
| --- | --- | --- | --- |
| SITE DEVELOPMENT |  |  | A |
|  | Land Purchase |  | AA |
|  |  | Land Purchase | AAA |
|  | Land Clearing |  | AB |
|  |  | Clear & Grubb | ABA |
|  |  | Topsoil | ABB |
|  |  | Final Grade & Trim | ABT |
|  | Landscaping |  | AE |
|  |  | Landscaping | AEA |
|  | Fencing |  | AF |
|  |  | Fencing & Gates | AFA |
|  | Piles & Caissons |  | AG |
|  |  | Bored Piles | AGA |
|  |  | Steel Tube Piles | AGB |
|  |  | Steel I-Section Piles | AGC |
|  |  | Pre-cast Concrete Piles | AGD |
|  |  | Cast In Place Piles (CIP) | AGE |
|  |  | Sheet Piles | AGF |
|  |  | Caissons | AGG |
|  |  | Other Pile | AGX |
|  | Liners |  | AL |
|  |  | HDPE Liner | ALA |
|  |  | Geotextile Fabric | ALB |
|  | Retaining Walls |  | AR |
|  |  | Cost in Situ Concrete Retaining Walls | ARC |
|  |  | Blockwork Retaining Walls | ARB |
|  |  | Timber Retaining Walls | ART |
|  |  | Reinforced Earth Walls | ARW |
|  | Geotechnical Work |  | AS |
|  |  | Geotechnical Work | ARC |
|  | Other Site Development Work |  | AX |
|  |  | Other Site Development Work | AXX |
|  | PRE-CAST CONCRETE WORKS |  | B |
|  | Pre-Cast Concrete |  | BP |
|  |  | Pre-Cast Items | BPA |
|  |  | Pre-Cast Beams | BPB |
|  |  | Pre-Cast Columns | BPC |
| CONCRETE WORKS IN-SITU |  |  | C |
|  | Cast In Situ Concrete |  | CA |
|  |  | Blinding Concrete | CAA |
|  |  | Structure Footings | CAB |
|  |  | Equipment Footings | CAC |
|  |  | Ground Slabs & Beams | CAD |
|  |  | Suspended Slabs & Beams | CAE |
|  |  | Columns Concrete | CAF |
|  |  | Walls Concrete | CAG |
|  |  | Tunnel Concrete | CAH |
|  |  | Silo/Tank/Bin Concrete | CAI |
|  |  | Bored Piers | CAJ |
|  |  | Grout | CAK |
|  |  | Drainage Inverts | CAN |
|  |  | Reinforcing Steel | CAR |
|  |  | Concrete Embedments | CAV |
|  |  | Concrete Finishes | CAW |
| INGROUND DRAINAGE & SERVICES |  |  | D |
|  | Trenching & Backfill |  | DA |
|  |  | Trench Excavation | DAA |
|  |  | Trench Backfill | DAB |
|  |  | Drainage Gravel | DAC |
|  |  | Table Drains | DAD |
|  | Culverts |  | DB |
|  |  | Pre-cast Concrete Box Culverts | DBA |
|  |  | Reinforced Concrete Pipe Culverts | DBB |
|  |  | RC Pipe in Trench, All-In | DBC |
|  |  | Corrugated Steel Pipe Culvert | DBD |
|  |  | Pre-cast Manholes & Sumps | DBE |
|  |  | Concrete Lining to Drains | DBF |
|  | Covers & Grates |  | DD |
|  |  | Covers & Grates | DDA |
| EARTHWORKS |  |  | E |
|  | Mass Earthwork |  | EA |
|  |  | Mass Excavation | EAA |
|  |  | Borrow | EAB |
|  |  | Mass Fill & Compact | EAF |
|  |  | Rock Excavation | EAG |
|  | Structural Excavation |  | EB |
|  |  | Structural Excavation - Common | EBC |
|  |  | Structural Excavation - Rock Rippable | EBR |
|  | Structural Backfill |  | EC |
|  |  | Structural Backfill - Common (Local) | ECA |
|  |  | Structural backfill - Select (Borrow) | ECB |
|  |  | Structural Backfill - Imported | ECC |
|  |  | Cement Stabilised Backfill | ECD |
|  |  | Rock Aggregate Fill | ECE |
|  | Slope Protection |  | ES |
|  |  | Slope Protection | ESA |
|  | Tunnel & Shaft Excavation |  | EV |
|  |  | Tunnel Excavation | EVA |
|  |  | Shaft Excavation | EVB |
|  |  | Ground Support, Tunnels | EVC |
| ARCHITECTURAL |  |  | H |
|  | Unit Construction |  | HB |
|  |  | Composite Buildings | HBC |
|  |  | Furniture & Fitout | HBF |
|  |  | Transportable Buildings | HBT |
|  | Architectural Finishes |  | HC |
|  |  | Wall Sheeting, Cladding | HCL |
|  |  | Access Doors | HEA |
|  |  | Roofing & Guttering | HGD |
|  |  | Building Services/Systems | HSE |
| CABLE SUPPORT SYSTEMS & RACEWAYS |  |  | J |
|  | Conduit |  | JC |
|  |  | ABS Conduit | JCA |
|  |  | Cable Pits | JCC |
|  |  | Excavation & Civil | JCE |
|  |  | Flexible Conduits | JCF |
|  |  | Gal Conduit & Pipe | JCG |
|  |  | PVC Conduit | JCP |
|  |  | S/S Conduit | JCS |
|  |  | Conduit Saddles, Clamps & Accessories | JCX |
|  | Ladder / Rack |  | JR |
|  |  | Al Ladders | JRA |
|  |  | Gal Ladders | JRG |
|  |  | HDG Ladders | JRH |
|  |  | S/S Ladders | JRS |
|  |  | Other Ladders | JRW |
|  |  | Misc | JRX |
| WIRE & CABLE |  |  | K |
|  | Control Cables |  | KC |
|  |  | PVC Control Cables | KCP |
|  |  | SWA Control Cables | KCS |
|  | Communication Cable |  | KD |
|  |  | Communication Cable | KDC |
|  | Earth Cables |  | KE |
|  |  | Earth Cables | KEE |
|  | Fibre Optic Cables |  | KF |
|  |  | Fibre Optic Cable | KFO |
|  | HV Cable |  | KH |
|  |  | 3.3kV Cable | KHB |
|  |  | 6.6kV Cable | KHC |
|  |  | 11kV Cable | KHD |
|  |  | 22kV Cable | KHE |
|  |  | 33kV Cable | KHF |
|  |  | HV Special Cable | KHS |
|  | LV Cables |  | KL |
|  | MV Cable |  | KM |
|  |  | Copper Cable PVC Sheath | KMA |
|  |  | Copper Cable SWA | KMD |
|  |  | Copper Cable PVC & Screened | KMC |
|  |  | Copper Cable XLPE Sheath | KMB |
|  |  | Aluminium Cable PVC Sheath | KME |
|  |  | Aluminium Cable SWA | KMH |
|  |  | Aluminium Cable PVC & Screened | KMG |
|  |  | Aluminium Cable XLPE Sheath | KMF |
|  |  | Busbar / Busway System | KMO |
|  |  | Catenary System | KMP |
|  |  | Misc Cables | KMX |
|  |  | Special Cables | KMS |
|  | Instrument Cable |  | KN |
|  |  | Misc | KNX |
|  |  | Instrument Cable PVC I&OA Scr | KNA |
|  |  | Instrument Cable PVC OA Scr | KNB |
|  |  | Instrument Cable PVC OA Scr Triad | KNC |
|  |  | Instrument Cable SWA I&OA Scr | KND |
|  |  | Instrument Cable SWA OA Scr | KNE |
|  |  | Instrument Cable SWA I&OA Scr Triad | KNF |
|  | Demolition |  | KU |
|  |  | Removal / demolition | KUD |
|  |  | Re-install existing | KUR |
| INSTRUMENTATION & CONTROL |  |  | I |
|  | Instruments |  | II |
|  |  | Analyser | IIA |
|  |  | Voltage & Current Transducer | IIU |
|  |  | Control Valve & Actuator | IIC |
|  |  | Density | IID |
|  |  | Flow | IIF |
|  |  | Level | IIL |
|  |  | Limit | IIM |
|  |  | Misc | IIX |
|  |  | Position | IIO |
|  |  | Pressure | IIP |
|  |  | Solenoid Valve | IIN |
|  |  | Speed | IIS |
|  |  | Temperature | IIT |
|  |  | Vibration | IIV |
|  |  | Weight & mass | IIW |
|  | Field Equipment |  | IQ |
|  |  | Air Panel / Equipment | IQA |
|  |  | Compressor / Hydraulic Power Unit | IQC |
|  |  | Instrument Distribution Boards | IQD |
|  |  | Marshalling Box / Junction Box | IQJ |
|  |  | Misc | IQX |
|  |  | Pneumatic Tubing & Accessories | IQP |
|  | Control Systems |  | IS |
|  |  | HMI | ISA |
|  |  | Misc | ISX |
|  |  | PLC | ISC |
|  |  | Programming | ISD |
|  |  | Enclosures & Racks | ISE |
|  |  | SCADA | ISF |
|  |  | Software | ISG |
|  | Demolition |  | IU |
|  |  | Removal / demolition | IUA |
|  |  | Re-install existing | IUB |
|  |  | Refurbish | IUC |
|  | Vendor Equipment |  | IV |
|  |  | Misc | IVX |
|  |  | Subcontract | IVS |
|  |  | Turnkey/Package Supply | IVT |
|  | ELECTRICAL EQUIPMENT |  | L |
|  | Earthing / Lightning Protection Equipment |  | LE |
|  |  | Earthing Equipment | LEE |
|  |  | Lightning Protection Equipment | LEL |
|  |  | Misc | LEX |
|  |  | Surge Protection | LES |
|  | Distribution / Reticulation Equipment |  | LH |
|  |  | Drive & Cable Assembly | LHI |
|  |  | Diesel Generators | LHG |
|  |  | Misc | LHX |
|  |  | HV Motor | LHM |
|  |  | Outdoor Switchyard Equipment | LHF |
|  |  | Package Substations | LHE |
|  |  | Switchroom & Substation Buildings, Foundations | LHS |
|  |  | HV Motor Starter / VSD | LHB |
|  |  | Indoor HV Switch Equipment | LHA |
|  |  | Transmission Lines & Equipment | LHD |
|  |  | Power Transformers | LHC |
|  | LV Switch Equipment |  | LL |
|  |  | Drive & Cable Assembly | LLW |
|  |  | Distribution Boards & Circuit Breakers | LLD |
|  |  | Misc Control Devices | LLM |
|  |  | Motor Control Centres | LLC |
|  |  | Misc | LLX |
|  |  | Motor | LLM |
|  |  | Motor Starters | LLS |
|  |  | Power Factor Correction | LLP |
|  |  | Control Transformers / Power Supply Units | LLT |
|  |  | UPS, Invertors & Battery Chargers | LLU |
|  |  | Variable Speed Drives | LLV |
|  | Field Equipment |  | LQ |
|  |  | Emergency Light Fittings | LQE |
|  |  | Field Devices | LQD |
|  |  | Hazardous Area Equipment | LQH |
|  |  | Power Outlets | LQG |
|  |  | Junction Box & Enclosures | LQJ |
|  |  | Control Stations & Accessories | LQC |
|  |  | Light Fittings | LQL |
|  |  | Misc | LQX |
|  |  | Motor | LQM |
|  |  | Light Poles & Brackets | LQP |
|  | Systems |  | LS |
|  |  | CCTV | LSC |
|  |  | Evac System | LSE |
|  |  | Fire Detection | LSF |
|  |  | Fire Protection | LSF |
|  |  | Intercom | LSI |
|  |  | MATV Systems | LSM |
|  |  | Misc | LSX |
|  |  | PA System | LSP |
|  |  | Radio & Telemetry | LSR |
|  |  | Security/ Access Control | LSS |
|  |  | Voice/Data Systems | LSV |
|  | Temporarily Uncoded |  | LT |
|  |  | Item Description Unclear - To be Coded | LTU |
|  | Demolition |  | LU |
|  |  | Removal / demolition | LUD |
|  |  | Re-install existing | LUR |
|  |  | Refurbish | LUS |
| MECHANICAL WORKS |  |  |  |
|  | Process Equipment |  | MA |
|  |  | Separation | MAE |
|  |  | Production Line | MAF |
|  |  | Cranes, Hoists & Lifts | MAG |
|  |  | Crushing | MAG |
|  |  | Dust Control | MAH |
|  |  | Fans | MAJ |
|  |  | Heat Exchangers | MAK |
|  |  | Pumps | MAL |
|  |  | Weighers | MAN |
|  |  | Mechanical Services | MAO |
|  |  | Feeders | MAP |
|  |  | Other Mechanical Equipment | MAX |
|  | Conveyor Equipment |  | MC |
|  |  | Pulleys | MCA |
|  |  | Idlers | MCB |
|  |  | Conveyor Belt | MCC |
|  |  | Conveyor Drives | MCD |
|  |  | Belt Cleaners | MCE |
|  |  | Take-ups | MCF |
|  |  | Belt Weighers | MCG |
|  |  | Tramp Iron Magnets | MCL |
|  |  | Materials Handling | MCH |
|  |  | Skirting | MCJ |
|  |  | Cable Reelers | MCR |
|  |  | Other Conveyor Equipment | MCX |
|  | Stockpile Equipment |  | MD |
|  |  | Stacker | MDA |
|  |  | Reclaimers | MDB |
|  | Workshop Equipment |  | MH |
|  |  | Workshop Tools | MHA |
|  |  | Workshop Equipment | MHB |
|  | Mobile Equipment |  | MI |
|  |  | Workshop/Warehouse Equipment | MIA |
|  |  | Mobile Plant & Equipment | MIB |
|  | Ductwork |  | ML |
|  |  | Ductwork (light gauge plate) | MLA |
|  | Mechanical Steelwork |  | MS |
|  |  | Conveyor Module Framework | MSA |
|  |  | Equipment Support Framework | MSB |
|  |  | Other Mechanical Steelwork | MSX |
| MECH PLATEWORK & TANKS |  |  | O |
|  | Metalwork |  | OL |
|  |  | Liner Plate | OLB |
|  |  | Hoods & Chutework | OLC |
|  |  | Bins & Hoppers | OLH |
|  |  | Pressure Vessels | OLP |
|  |  | Tanks | OLT |
| PIPEWORK & FITTINGS |  |  | P |
|  | Concrete Pipe |  | PC |
|  |  | Concrete Pipe | PCA |
|  |  | Concrete Pipe, <300mm dia | PCA300 |
|  |  | Concrete Pipe, 300-500mm dia | PCA500 |
|  |  | Concrete Pipe, 501-750mm dia | PCA750 |
|  | Iron Pipe |  | PD |
|  |  | DICL Pipe | PDA |
|  | Plastic Pipe |  | PP |
|  |  | HDPE | PPA |
|  |  | HDPE, <100mm dia | PPA100 |
|  |  | HDPE 100-200mm dia | PPA200 |
|  |  | HDPE 201-300mm dia | PPA300 |
|  |  | HDPE 301-400mm dia | PPA400 |
|  |  | Hose | PPH |
|  |  | PVC Pipe | PPC |
|  |  | FRP Pipe | PPF |
|  |  | UPVC Pipe | PPU |
|  | Steel Pipe |  | PS |
|  |  | CS Std Weight Pipe | PSA |
|  |  | CSRL Std Weight Pipe | PSB |
|  |  | CSXS Pipe | PSC |
|  |  | CSUL Std Weight Pipe | PSD |
|  |  | Stainless Steel Pipe | PSS |
|  | Valves |  | PV |
|  |  | Ball Valves | PVA |
|  |  | Butterfly Valves | PVB |
|  |  | Check Valves | PVC |
|  |  | Diaphragm Valves | PVD |
|  |  | Float Valves | PVE |
|  |  | Flush/Drain Valves | PVF |
|  |  | Gate Valves | PVG |
|  |  | Globe Valves | PVH |
|  |  | Isolating Valves | PVI |
|  |  | Knife Gates Valves | PVK |
|  |  | Non Return Valves | PVN |
|  |  | Plug Valves | PVP |
|  |  | Pinch Valves | PVQ |
|  |  | Special Valves | PVS |
|  | Other Pipe Items |  | PX |
|  |  | Other Pipework | PXA |
| PAINTING & INSULATION |  |  | Q |
|  | Painting |  | QA |
|  |  | Paint Steelwork | QAA |
|  | Insulation |  | QI |
|  |  | Insulation | QIA |
|  | Refractory |  | QR |
|  |  | Ductwork Refractory | QRA |
| ROADWORKS & PAVING |  |  | R |
|  | Roads |  | RA |
|  |  | Road Groundwork | RAA |
|  |  | Road Surface | RAB |
|  |  | Road Concrete | RAC |
|  |  | Road Slope Protection | RAD |
|  |  | Road Barriers | RAE |
|  |  | Road Markings & Signage | RAF |
|  |  | Other Roadwork (Defined) | RAG |
|  | Paving |  | RB |
|  |  | In-Situ Concrete Paving | RBA |
|  |  | Pre-cast Paving | RBB |
| STEELWORK |  |  | S |
|  | Structural Steelwork |  | SA |
|  |  | Light Structural Steel, <25kg/m | SAA |
|  |  | Medium Structural Steel 25-65kg/m | SAB |
|  |  | Heavy Structural Steel 65-125kg/m | SAC |
|  |  | Extra Heavy Structural Steel >125kg/m | SAD |
|  |  | Welded Beams | SAE |
|  |  | RHS & CHS | SAF |
|  |  | Crane Rails | SAG |
|  |  | Conveyor Steelwork | SAH |
|  |  | Floor Plate / Grating | SAI |
|  |  | Other Steelwork (Defined) | SAX |
|  | Cold Rolled Sections |  | SB |
|  |  | Purlins & Girts | SBA |
|  | Access |  | SC |
|  |  | Handrail | SCB |
|  |  | Walkways | SCC |
|  |  | Ladder | SCD |
|  |  | Stair | SCE |
|  | Structural FRP |  | SF |
|  | Structural Timber |  | ST |
| MARINE & RAILWAY WORKS |  |  | T |
|  | Marine Works |  | TA |
|  |  | ??? | TAA |
|  | Railway Works |  | TB |
|  |  | ??? | TBA |
| PRELIMINARIES & SPECIFIC TEMPORARY WORKS |  |  | U |
|  |  |  | UA |
|  |  |  | UAA |
| DEMOLITION |  |  | V |
|  |  | Relocations | VAA |
|  |  | Remediation | VAR |
|  |  | Demolition | VAD |
|  |  | Modifications | VAM |
| CONTRACTORS OVERHEADS |  |  | W |
|  |  |  | WA |
|  |  |  | WAA |
| MULTIDISCIPLINE |  |  | X |
|  | Packaged Plants |  | XA |
|  |  |  | XAA |
| INDIRECTS |  |  | Y |
|  | EPCM |  | YA |
|  |  | Engineering Design |  |
|  |  | Project Management |  |
|  |  | Site Management |  |
|  |  | Travel & Accommodation |  |
|  |  | Third Party Consultants |  |
|  |  | Insurance |  |
|  |  | Safety |  |
|  |  | Environmental |  |
|  |  | Security |  |
|  |  | Site Offices |  |
|  |  | Testing & Inspection |  |
|  |  | Training |  |
|  | Spares |  | YB |
|  |  | Mechanical Spares |  |
|  |  | Electrical Spares |  |
|  |  | Instrument Spares |  |
|  | First Fills |  | YC |
|  |  | First Fills |  |
|  |  | Manuals |  |
|  |  | Commissioning Spares |  |
| CONTINGENCY |  |  | Z |
|  |  | Contingency | ZZZ |